## Slide 1: Data Science & Smart Sensing developments for safe & sustainable drinking water distribution

## Slide 2: Water Quality Monitoring for « commercial » operations - Data science development

## Slide 3
Goal: Early contamination detection
Constraints: Using non-specific WQ sensors  [Chl]
Case study: analysing EDP & Univ. Lille ChlorScans data
Water Quality Monitoring
  Inflow network Panthéon
  Chlorscan 1 reservoir
  Chlorscan 2 reservoir
  Total chlorine Saint-Cloud factory

## Slide 4
Solution Concept
Data
Pre-processing
Data
Analysis
Decision making
Data Acquisition

## Slide 5
Solution Concept
Data
Pre-processing
Data
Analysis
Decision making
Data Acquisition

## Slide 6
Step 1 → Data Pre-Processing
Data
Pre-processing
Data
Analysis
Decision making
Data Acquisition

## Slide 7
Detect & remove “absurd” data points
Replace missing and removed data points if possible
Step 1 → Data Pre-Processing

## Slide 8
According to the number & types of measurement anomalies:
sensor reliability can be assessed
further decisions can be discussed
Step 1 → Data Pre-Processing

## Slide 9
Step 2 → Water Quality Anomaly Detection
Data
Pre-processing
Data
Analysis
Decision making
Data Acquisition

## Slide 10
Step 2 → Water Quality Anomaly Detection
One class classifier = Normal behaviour of the signal Vs Anomaly

## Slide 11
Validation : In Lab. Demonstration
Setting-up live experiments at Lille University for benchmarking

## Slide 12
Exploiting existing EDP data with simulated anomalies
Validation : In Silico Demonstration

## Slide 13: Radiological Monitoring for Homeland Security Applications - SMART SENSors development

## Slide 14: Water Monitoring
Operational requirements:
Online measurement (max 10 mn)
No influence:
  Temperature
  Turbidity
  Organic materials
  High concentration of chlorine
Goal: Detect Alpha & Beta contamination in drinking water

## Slide 15
Scintillating optical fibers bundle
Photomultiplier
Signal Processer
Counting and smoothing module
beta or alpha
The SAFEWATER Concept
Water in
Water out
Notes: MCNP is a general-purpose Monte Carlo N-Particle code that can be used for neutron, photon, electron, or coupled neutron/photon/electron transport.
Los Alamos National Laboratory

## Slide 16
Safewater Solution : Hardware release 1

## Slide 17
Sensor
Alarm Threshold
Display
Acquisition/processing
Safewater Solution : Hardware release 2

## Slide 18
Connexion
Daily Data Files
Measurments of the day
Current value
Alarm Threshold
Safewater Solution : Software release 1
Notes: Variable conditions with different water sources and contaminants other than radioactive materials have been evaluated, in order to determine the level of the background noise and its influence on the sensor.
During in-situ measurements in HAGIHON (Israel), variable conditions with different water sources and contaminants (other than radioactive materials) have been evaluated:
- Temperature
- Turbidity
- Organic materials
- High concentration of chlorine
->The sensor was not influenced by changes in water

## Slide 19
Average tritium concentration to be detected:~1500 Bq.L-1
Real time measurement
Manage the impact of salinity (~20000 ppm)
Main requirements (as defined by TEPCO)
A new challenge : Tritium Detection for D&D applications

## Slide 20: Direction : CEA TECH Department : DCSI Laboratory : LADIS
Commissariat à l’énergie atomique et aux énergies alternatives
Institut Carnot CEA LIST
CEA Saclay – DIGITEO LABS | 91191 Gif-sur-Yvette Cedex
Phone. +33 (0)1 69 08 88 55 | Fax. +33 (0)1 69 08 89 65
  Etablissement public à caractère industriel et commercial | RCS Paris B 775 685 019
THANK YOU