## Slide 1
MOCOPEE
Research program
Main results
SIAAP coordinators
V. Rocher and S. Azimi
S. Guérin-Rechdaoui1, R. Mailler1, J. Bernier1, Y. Fayolle2, S. Laruelle3, C. Causserand4, M. Spérandio5, A. Pauss6
1
2
3
4
5
6

## Slide 2: Contents
The SIAAP in the Paris area context
The Mocopée research programme as a tool box
Operational applications of the results of Mocopée

## Slide 3: SIAAP presentation
An outstanding industrial tool in an urbanized area
N
Paris
Marne
Seine
MAV
75 000 m3.d-1
SAM
600 000 m3.d-1
SEC
240 000 m3.d-1
SAV
1 700 000 m3.d-1
10 km
SEG
300 000 m3.d-1
SEM
50 000 m3.d-1
SIAAP area
2 000 km² / 9 millions inhabitants
2,5 millions d3 / j (dry weather)
440 km of pipes
6 WWTP
≈ 30 m3/s discharged in the
Seine River

## Slide 4: SIAAP presentation
An outstanding industrial tool in an urbanized area
12
120 000
Paris
100
Seine
1,8
1 800
Lyon
1 000
Rhône
0,7
470
Strasbourg
1 500
Rhin
Inhab./ m³.s
M inhab.
m³/s
Pop.
Impact
Mun.
Q low flow
Fleuve
Seine River (mean flow 300 m3/s - summer flow 100 m3/s )
Heavy anthropogenic pressure

## Slide 5: Background
Major changes for the environmental protection
  A European regulation to reach good quality in surface water
  The need for high performance technologies
  Energy and chemical costs containment

## Slide 6: Background
Major changes for the environmental protection
  A European regulation to reach good quality in surface water
  The need for high performance technologies
  Energy and chemical costs containment
WFD thresholds
Good state
Total phosphorus(mg P / L)
0,2
PO
4
3
-
(mg PO
4
3
-
/ L)
0,5
NH
4
+
(mg NH
4
+
/ L)
0,5
NO
2
-
(mg NO
2
-
/ L)
0,3
NO
3
-
(mg NO
3
-
/ L)
50
Water Framework Directive
Restoring the good ecological and chemical state
Rivers, water bodies, transitional waters,
coastal waters, heavily modified water bodies
2027
Good Status target
90th percentile

## Slide 7: Background
Major changes for the environmental protection
  A European regulation to reach good quality in surface water
  The need for high performance technologies
  Energy and chemical costs containment
Biofiltre (Biostyr®)
Lamella physico-chemical settler tank (Actiflo®)

## Slide 8: Background
Major changes for the environmental protection
  A European regulation to reach good quality in surface water
  The need for high performance technologies
  Energy and chemical costs containment
-
40
80
X 1.000 Tonnes
Calcium nitrate
Methanol
Ferrous chloride
Caustic Soda
Polymers
Coagulant
0
300
600
Electricity
Biogaz
Fuel
Natural gaz
Consomption (MWh)
Costs (€)
X 1.000 MWh
27 912 264 €
514 351 MWh
- €
487 311 MWh
871 784 €
16 747 MWh
1 466 733 €
60 984 MWh
7.364.437 €
51.219 t
2.317.609 €
1.112 t
960.608 €
7.742 t
1.009.236 €
9.2029 t
4.371.851 €
13.235 t
4.030.164 €
22.624 t
Energy (2017)
Chemicals (2017)

## Slide 9: The Mocopee programme
A program with 4 areas
  Innovative methods for characterizing and monitoring processes with respect to current industrial practices
  Modelling of the operation of the sewer-plant-river systems and developing control strategies
  Understanding and quantifying the processes involved in the ageing of facilities
  Make it possible to recover resources contained in WW and exploring innovative processes

## Slide 10: The Mocopee programme
Built as a gateway
  The Mocopée research program is a workshop between research community and staff on the ground
Manufacturing companies
Scientific partners
Associations

## Slide 11: Operational applications
In situ E.Coli mesurent
Microbiologial assesment
BOD5 in 48h.
Analyse MO via Fluo3D
Organic matter analyse
BMP in 48h
BMP in 96h
BMP in less than 96 h
Design and development of new methods
  Assessment of Biomethane potential (BMP) in 48 h instead of 20 days
  Bacteria determination in 10 h instead of 48 h
Innovative approach
  Fluorescence 3D to assess the biodegradable fraction of OM
Mathematical modelling as decision making tools

## Slide 12: Operational applications
Process 1
Process 2
Sewer network
WWTP
River

## Slide 13: Operational applications
Process 1
Process 2
Sewer network
WWTP
River
Sensor
monitoring
Downstream
Prediction (6h)
Output
Set-point
River model

## Slide 14: Operational applications
Process 1
Process 2
Sewer network
WWTP
River
Sensor
monitoring
Downstream
Prediction (6h)
Output
Set-point
River model
Downstream
Design, development and construction of metrological and mathematical tools for the « River »
Paris
Suresnes
Bougival
Andrésy
Oxygen / pH / Conductivity / T°C
TOC / DOC / NTU / NH4+ / PO43- / Chloro a
Simulation NH4+ – Andrésy

## Slide 15: Operational applications
Process 1
Process 2
Sewer network
WWTP
River
Sensor
monitoring
Downstream
Prediction (6h)
Output
Set-point
Sensor
monitoring
Network model
Quality
Prediction (6h)
River model
Input
constrains
Suresnes
Bougival
Andrésy

## Slide 16: Operational applications
Process 1
Process 2
Sewer network
WWTP
River
Sensor
monitoring
Downstream
Prediction (6h)
Output
Set-point
Sensor
monitoring
Network model
Quality
Prediction (6h)
River model
Input
constrains
Suresnes
Bougival
Andrésy
Downstream
Design, development and construction of metrological and mathematical tools for « sewer system »
Clichy
St Cloud
La Frette
Support model to manage water flows
Paris
La Briche
Site of Clichy – Hauts de Seine
Conductivity / NTU / DOC / NH4+
Sewer monitoring sites

## Slide 17: Operational applications
Process 1
Process 2
Sewer network
WWTP
River
Sensor
monitoring
Downstream
Prediction (6h)
Output
Set-point
Sensor
monitoring
Network model
Quality
Prediction (6h)
WWTP model
River model
Input
constrains
Clichy
St Cloud
La Frette
Paris
La Briche
Suresnes
Bougival
Andrésy

## Slide 18: Operational applications
Process 1
Process 2
Sewer network
WWTP
River
Sensor
monitoring
Downstream
Prediction (6h)
Output
Set-point
Sensor
monitoring
Network model
Quality
Prediction (6h)
WWTP model
River model
Input
constrains
Suresnes
Bougival
Andrésy
Design, development and construction of metrological and mathematical tools for « WWTP »
NH4+
mg N/L
NO2-
PO43-
mg P/L
mg N/L
Output set-point
1,8
0,9
2,3
NH4+
mg N/L
NO2-
PO43-
mg P/L
mg N/L
Input constrains
3,1
35,8
0,1
Lamella settler tank
Biofiltration
MBR
WWTP
€ / kg CO2
Environnemental and economical impacts
€ / kg CO2
€ / kg CO2
€ / kg CO2

## Slide 19: Operational applications
Process 1
Process 2
Sewer network
WWTP
River
Sensor
monitoring
Downstream
Prediction (6h)
Output
Set-point
Sensor
monitoring
Network model
Quality
Prediction (6h)
WWTP model
River model
Input
constrains
Clichy
St Cloud
La Frette
Paris
La Briche
Suresnes
Bougival
Andrésy
Unitary process models

## Slide 20
thank you for your attention

## Slide 21: Mocopee’s structure
A program with 4 areas
Scientific objectives
Operational application
To solve operational problems and to optimize process efficiency with a full scale implementation
To promote innovative metrological methods or characterization tools
Notes: Scientific objective
Promote innovative metrological methods or characterization tools
And promote evolution of operation practices

## Slide 22: Mocopee’s structure
A program with 4 areas
Scientific objectives
Operational application
To help operators as decision making support
To improve existing mathematical models and control loops
Notes: Scientific objective

## Slide 23: Mocopee’s structure
A program with 4 areas
Scientific objectives
Operational application
To design innovative tools for diagnose and anticipation of degradations
To improve knowledge on processes involved in concrete and metallic structure degradations
Notes: Scientific objective
Slide + Understanding links between the degradation and operational conditions
Operational application
Slide + It aims also to improve operational practices for rehabilitation and construction and define operational conditions

## Slide 24: Mocopee’s structure
A program with 4 areas
Scientific objectives
Operational application
To provide guidance for the evolution of our industrial tool
(from WWTP to WWRRP)
To improve knowledge on upcoming innovative processes
Notes: Recovery and recycling of nutrients
Evaluate innovative processes for pollutant and nutrients recovery and recycling.
Scientific objective
Operational application
Bring scientific considerations to provide guidance for evolution of industrial tool toward material processing